## Product List
| DATE: |  |  | Application Form Annex-3 Product Information Table
FR.MED.01 Annex-3 R.13 | For adding more rows, use "insert" function in the rows with a white background. Please do not use the function " insert copied cells".
INTRODUCTION |  |  |  |  | BASIC UDI-DI |  | EMDN FULL |  | CODES Please consult to MDCG 2019-14 for more information about MDA/MDN/MDS/MDT Codes |  |  | DEVICE CHARACTERISTICS | [17 empty] | SPECIFIC INFORMATION ABOUT LEGACY DEVICES | [5 empty] | WET | NOVELTY |  | CLINICAL ASPECTS | [15 empty] | OUTSOURCED PROCESSES |  |  | CURRENT STATUS
Technical Documentation Code Document Code applied for the technical documentation. For example TD.01 | Device Name Device Group Name Device Name shall be clear and inline with the terminology used in Healtcare. For example, Anaesthesia Machine, Braided Coated Polyglycolic acid Suture | Intended Purpose Please also add user manual/IFU as an annex to the application. | Principle Mode Of Action | Models | Basic UDI-DI (system) (if available) (if device consist of components holding separate Basic UDI-DI) | Basic UDI-DI | EMDN 4th Level (one letter plus 6 digit if available) | EMDN Rest (rest of the digit addition to the previous portion, if available) | MDA/MDN Code (select only 1) Enter only 4 digit numeric portion Example: 1102 | MDS Codes (multiple) | MDT Codes (multiple) | Risk Class | Is your device a sterile system or procedure pack? | Classification Rule | Re-Usable? | Measuring Device? | Device Type | Invasive / Implantable | Duration Of Use for Invasive and Implantable Devices | Incorporating Software? | Consisting of human blood, plasma and its derivatives | Consisting Drug/Medicinal Product | Consist of Human/Animal Tissue and its derivatives | Absorbed/ Locally dispersed | Consist of Nanoparticle or Nanomaterial | When Applicable Nanoparticle or Nanomaterial Type | Sterility | When Other selected, please define | When Aseptic selected; please define other sterilization methods used during aseptic process | Is there any type of coating applied to the device. If yes please which type of Coating Technologies applied? | Is the device a Legacy Device? | Do you intend to change / modify the intended use and design of legacy devices for MDR application? | If yes is selected for the previous question(legacy device), please state which device have which kind of modification | If the device is a legacy device what is your position for the transfer of surveillance according to (EU)2023/607? | Please state; 1) Notified Body which issued MDD certificate for the Legacy Device 2) Validity Status of the certificate 3) Expiry Date of the certificate 4) Last successful surveillance audit date(month/year) 5) Next routine surveillance date(month/year) Please add existing certificates as an annex to the application | Is there any published Common Specification for your device? Please indicate here | Is the device Well Established Technology(WET)? Is your device listed as WET per Article 61.6b? | Does the device have any clinical and technical novel features? | What are the technical and clinical novel features? | Does the device have equivalent device in the market? | Please define equivalent device brand/model | For New Devices(not legacy), Do You Apply for MDR with Pre-Market Clinical Investigation? | Do you use your own clinical data? | Do you use equivalent device clinical data? | If equivalent device data has been used for class III and implantable devices, does the clinical evaluation fulfil the requirements of Article 61.4 or Article 61.5? | Is the clinical evaluation of the device based on clinical data or Article 61.10? | Please state one or more sources of four types of clinical data defined in Article 2.48 | Did you consult to European Expert Panel for device's clinical strategy? | Did you perform clinical investigation for the device? | Did you perform PMCF investigation for the device? | If your device is Annex XVI device, did you start or performed a clinical investigation for the non-medical intended use? | If yes is selected for the previous one please state competent authority approval date and a possible timeline for completing the clinical investigation | Do you have PMS Report (for class Is,Im,Ir devices and sterile systems or procedure packs) or PSUR (for Class IIa, Class IIb, and Class III devices)? | Is there any ongoing specific PMCF activity for the device? | Which processes are outsourced for this device? Please define. | Do you re-label the applied device which is already in the market and manufactured/designed by another company? | State the outsourcing company name and address if the design/manufacturing is completely outsourced (Please add the current CE certificates of outsourcing company for the same device, if there is any) | Does the device have valid 93/42/EEC Certificate? | Does the device have valid (EU)2017/745 Certificate? | Does the device have local national license? | Did you apply to a Notified Body for this device and is there an ongoing application review? | Did you sign a contract with a Notified Body for this device? | How long has the device been in the market? | In which countries the device is being sold? | Language of the Technical Documentation | If there is any incomplete activity, part of a technical documentation for your devices please indicate here. For example: Ongoing tests, ongoing clinical investigations. Specify if there is any timeline for completing the activities.
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select
[12 empty] | Select | Select |  | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select | Select |  | Select |  |  |  | Select | Select |  | Select |  |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select |  | Select | Select | Select | Select |  | Select | Select |  | Select |  | Select | Select | Select | Select | Select

## Drop-Downs (hidden)
Select | Select | Select | Select | Select | Select | No | Select | Select | Select | Select
Class Is | Yes | Medical Device | Non invasive | Not Applicable | Non Sterile | Similar | Not a Legacy Device | Clinical Data | No | No
Class Im | No | Accessory to a Medical Device | Invasive through a body orifice | <60minutes | Moist Heat | Equivalent | I want to transfer the surveillance of this legacy device until 26.09.2024 from my current Notified Body to SZUTEST GmBH. | Article 61.10 | Locally Dispersed | Sterile System/Procedure Pack
Class Ir |  | Annex XVI Device | Surgically invasive | >60minutes and <30 days | Ethylene Oxide |  | I want to continue with my current Notified Body for the surveillance of this legacy device until 26.09.2024 |  | Absorbable
Class IIa |  |  | Implantable | >30 Days | Radiation |  |  |  | Systemically Absorbed
Class IIb |  |  |  |  | Hydrogen Peroxide
Class III |  |  |  |  | Dry Heat
Aseptic
Other